GENERAL CLINIC (with hospitalization)

| ELIGIBLE CRITERIA | EVALUATION CRITERIA | OBLIGATIONS |
| --- | --- | --- |
| Ministry of health authorization for general clinic private practice showing the name of the owner At least 1 permanent medical general practitioner (proof of contract if not the owner) Current tax clearance from RRA Current contributions clearance from Rwanda Social Security Board Valid registration certificate from Rwanda Medical and Dental Council for all doctors and dental surgeons practicing in the clinic Valid registration certificate from Rwanda Nursing and Midwifery Council for all nurses Valid registration certificate from Rwanda Allied Health Professions Council for all physiotherapists, dental therapists, lab technicians, anesthetists, … Contract copies for all doctors practicing in the clinic | STAFF At least 1 permanent medical general practitioner At least 1 nurse level A1 At least 2 nurses level A2 At least 2 laboratory technicians level A2 ORGANISATION Hospitalization department with at least the capacity of 10 beds Ambulance or contract with referral hospital to ensure transfer of patients At least 1 operational computer Clear system for patients registration which can easily be traced At least 1 stretcher At least 1 wheelchair INFRASTRUCTURES III.1. External environment Road accessibility Located in a quiet and clean place Adequate parking corresponding to the clinic capacity III.2. Building Built with durable materials in its external structure Built with durable, semi durable or temporary materials in its internal structure, which guarantee intimacy and confidentiality Easily accessible internal services within the building Sufficient free air circulation Adequate lighting system Without humidity Tidy external walls Tidy and well painted internal walls Clean and well painted ceiling Intact floor Constant power supply with a standby generator III.3. Sufficient Hygiene Constant water flow Tank with sufficient capacity for the clinic Water filter Sanitation : functional, clean, accessible, separated according to sex, well equipped with appropriate sanitation accessories Proper system for waste management Proper system for destroying polluted and used materials (incinerator), or have a contract a recognized institution which offer such services Pit for placenta in any health establishment where deliveries are carried out (at least 5 meters deep). III.4. Acceptable spacing and beds management III.4.1. Waiting room and reception At least surface area of 6mx5m Appropriate seats with a capacity of a least 10 persons Reception table with at least 2 chairs Audio-visual educational materials Adequate working space for RSSB agent, with socket for electric connection and working table with drawer capable of locking III.4.2. Triaging room and for vital signs’ taking At least surface area of 3mx3m Shelves files Administrative table with at least 2 chairs Pediatric balance Adult balance Dustbin with pedal accessory Tape measure Thermometer Stethoscope Blood pressure machine III.4.3. Consultation room At least surface area of 3mx3m Consultation bed Consultation table with at least 2 chairs Washbasin with its accessories Dustbin with pedal accessory Thermometer Medical stethoscope Blood pressure machine Otoscope Cupboard for instruments Tongue depressor Gloves box Bedside stair Patella hammer (percussion hammer) Tape measure Kidney dishes White blouse (gown) Examenination lamp Hanger III.4.4. Laboratory room Floor: continuous smooth, Sol finishing with sikafloor or equivalent with white color Walls: bricks and concrete, with cream color oil paint At least surface area of 3mx3m Laboratory technician’ table At least 1 fonctional microscope Hematological tubes Centrifuge Spectrophotometer Water flow with washbasin Dustbins with pedal accessories for different wastes Fridge Laboratory materials’ store III.4.5. Sterilisation room At least surface area of 3mx3m Table Functional electric sterilizer with a capacity of meeting clinic demands At least 3 sterilizing drums III.4.6. Minor theater At least surface area of 3mx3m Nursing bed At least 2 chairs Materials for minor surgery III.4.7. Nursing care ward At least surface area of 4mx3m Nursing table 2 chairs Cupboard with necessary materials III.4.8. Hospitalization : (at least 1/3 of beds adjustable) III.4.8.1. Individual room At least surface area of 4mx3m Comfortable bed meant for hospitalization Interior toilet and bathroom Wardrobe Bedside drawers with 2 chairs System for call of a doctor on duty Hanged Mosquito bednet Dustbin with pedal accessory Intravenous fluid supporter III.4.8.2. Room with 2 beds At least surface area of 5mx4m 2 comfortable beds meant for hospitalization Separated by at least 1 meter distance Curtain separating the 2 beds Interior toilet and bathroom Wardrobe Bedside drawers with 2 chairs System for call of a doctor on duty 2 Hanged Mosquito bednets Dustbin with pedal accessory Intravenous fluid supporter | In case of partnership acquisition, handle all the medical services transactions for RSSB affiliates on IT based services Offer quality services to RSSB beneficiaries Accept the attachment of RSSB agent at the clinic Abide by the tariffs as fixed by the Ministry of health in collaboration with partners Offer services 24h/24 Ensure permanent duty outside normal working hours with a medical general practitioner Operational laboratory services 24h/24 Send invoices to RSSB which exactly correspond to services offered to its beneficiaries No charging extra payment to RSSB beneficiaries above the stipulated tariffs No denying services available to RSSB beneficiaries basing on any reason whatsoever |