MEDICAL ANALYSIS LABORATORY

| ELIGIBLE CRITERIA | EVALUATION CRITERIA | OBLIGATIONS |
| --- | --- | --- |
| Ministry of health authorization for medical analysis laboratory private practice showing the name of the owner At least 1 permanent A0 specialist in laboratory sciences Current tax clearance from RRA Current contributions clearance from Rwanda Social Security Board Registration certificate from Rwanda Medical Council for all doctors practicing in the laboratory Contract copies for all doctors practicing in the laboratory List of materials and equipments specific to the laboratory according to MINISANTE norms and standards | STAFF At least 1 permanent A0 specialist in laboratory sciences At least 1 laboratory technician level A1 or A2 per department ORGANISATION At least 1 operational computer Clear system for patients registration which can easily be traced INFRASTRUCTURES III.1. External environment Road accessibility Located in a quiet and clean place Adequate parking corresponding to the laboratory capacity III.2. Building Built with durable materials in its external structure Built with durable, semi durable or temporary materials in its internal structure, which guarantee intimacy and confidentiality Easily accessible internal services within the building Sufficient free air circulation Adequate lighting system Without humidity Tidy external walls Tidy and well painted internal walls Clean and well painted ceiling Intact floor Constant power supply III.3. Sufficient Hygiene Constant water flow Tank with sufficient capacity for the laboratory Water filter Sanitation : functional, clean, accessible, separated according to sex, well equipped with appropriate sanitation accessories Proper system for waste management III.4. Acceptable space management III.4.1. Waiting room and reception At least surface area of 6mx5m Appropriate seats with a capacity of a least 10 persons Reception table with at least 2 chairs Audio-visual educational materials Adequate working space for RSSB agent, with socket for electric connection and working table with drawer capable of locking III.4.2. Room for specimen taking and labeling Floor: continuous smooth, Sol finishing with sikafloor or equivalent with white color Walls: bricks and concrete, with cream color oil paint At least surface area of 3mx3m Table with at least 2 chairs Various tubes for samples Water flow with washbasin Dustbins with pedal accessories for different wastes Fridge III.4.3. Room for specimen analysis Floor: continuous smooth, Sol finishing with sikafloor or equivalent with white color Walls: bricks and concrete, with cream color oil paint At least surface area of 3mx3m Separate rooms for different departments Laboratory materials’ store Laboratory technician’ table Water flow with washbasin Dustbins with pedal accessories for different wastes Fridge III.4.4. Sterilisation room At least surface area of 3mx3m Table Functional electric sterilizer with a capacity of meeting laboratory demands At least 3 sterilizing drums per department III.5. Materials and equipments specific for the laboratory (refer to the list sent per laboratory in the partnership demand document) | In case of partnership acquisition, handle all the medical services transactions for RSSB affiliates on IT based services Offer quality services to RSSB beneficiaries Accept the attachment of RSSB agent at the laboratory Abide by the tariffs as fixed by the Ministry of health in collaboration with partners Send invoices to RSSB which exactly correspond to services offered to its beneficiaries No charging extra payment to RSSB beneficiaries above the stipulated tariffs No denying services available to RSSB beneficiaries basing on any reason whatsoever |