POLYCLINIC

| ELIGIBLE CRITERIA | EVALUATION CRITERIA | OBLIGATIONS |
| --- | --- | --- |
| Ministry of health authorization for polyclinic private practice showing the name of the owner Hospitalization department Pediatrics department if there is gynecology & obstetrics department At least 1 permanent doctor (proof of contract if not the owner) At least 2 specialized medical departments At least 1 specialized doctor heading / responsible of each specialized department General medicine department Current tax clearance from RRA Current contributions clearance from Rwanda Social Security Board Valid registration certificate from Rwanda Medical and Dental Council for all doctors and dental surgeons practicing in the polyclinic Valid registration certificate from Rwanda Nursing and Midwifery Council for all nurses Valid registration certificate from Rwanda Allied Health Professions Council for all physiotherapists, dental therapists, lab technicians, anesthetists, … Contract copies for all doctors and dental surgeons practicing in the polyclinic List of materials and equipments specific to the specified departments according to MINISANTE norms and standards List of lab tests provided at the polyclinic | STAFF At least 1 specialized doctor per department At least 1 nurse level A1 At least 3 nurses level A2 At least 1 laboratory technician A1 At least 2 laboratory technicians level A2 At least A1 medical imaging technician (if applicable) At least 1 anesthetist assistant level A1 in departments offering surgical procedures (if applicable) Note: the size of staff has to be proportional to the frequentation and services offered ORGANISATION Hospitalization department with at least the capacity of 10 beds Ambulance or contract with referral hospital or any other ambulance services provider to ensure transfer of patients At least 1 operational computer Clear system for patients registration whereby all services rendered can easily be traced (recording and filing) At least 1 stretcher At least 1 wheelchair Note: the number of stretcher and wheelchair has to be proportional to the frequentation and services offered INFRASTRUCTURES III.1. External environment Road accessibility Located in a quiet and clean place Adequate parking corresponding to the Polyclinic capacity III.2. Building Built with durable materials in its external structure Built with durable, semi durable or temporary materials in its internal structure, which guarantee intimacy and confidentiality Easily accessible internal services within the building Sufficient free air circulation Adequate lighting system Without humidity Tidy external walls Tidy and well painted internal walls Clean and well painted ceiling Intact floor Constant power supply with a standby generator (automatic generator for polyclinic with surgery department) III.3. Sufficient Hygiene Constant water flow Tank with sufficient capacity for the polyclinic Water dispenser Sanitation : functional, clean, accessible, separated according to sex, well equipped with appropriate sanitation accessories Proper system for waste management Proper system for destroying polluted and used materials (incinerator), or have a contract with a recognized institution which offer such services Pit for placenta in any health establishment where deliveries are carried out (at least 5 meters deep). III.4. Acceptable spacing and beds management III.4.1. Waiting room and reception At least surface area of 6mx5m Appropriate seats with a capacity of a least 10 persons Reception table with at least 2 chairs Audio-visual educational materials Adequate working space for RSSB agent, with socket for electric connection and working table with drawer capable of locking III.4.2. Triaging room and for vital signs’ taking At least surface area of 3mx3m Shelves files Administrative table with at least 2 chairs Pediatric balance Adult balance Dustbin with pedal accessory Tape measure Thermometer Stethoscope Blood pressure machine III.4.3. Consultation room At least surface area of 3mx3m Consultation bed Consultation table with at least 2 chairs Washbasin with its accessories Dustbin with pedal accessory Thermometer Medical stethoscope Blood pressure machine Otoscope Cupboard for instruments Tongue depressor Gloves box Bedside stair Patella hammer (percussion hammer) Tape measure Kidney dishes White blouse (gown) Examenination lamp Hanger III.4.4. Laboratory room Floor: continuous smooth, Sol finishing with sikafloor or equivalent with white color Walls: bricks and concrete, with cream color oil paint At least surface area of 3mx3m (depending on the capacity of the polyclinic) Laboratory technician’ table At least 1 fonctional microscope Hematological tubes Centrifuge Spectrophotometer Water flow with wash basin Dustbins with pedal accessories for different wastes Fridge Laboratory materials’ store Clear lab data recording system Keep record of lab test results in the data machine for at least the last 6 months or maximum record capacity of the machine Lab equipment related to lab services provided III.4.5. Sterilisation room At least surface area of 3mx3m Table Functional electric sterilizer with a capacity of meeting Polyclinic demands At least 3 sterilizing drums III.4.6. Minor theater At least surface area of 3mx3m Nursing bed At least 2 chairs Materials for minor surgery III.4.7. Nursing care ward At least surface area of 4mx3m Nursing table 2 chairs Cupboard with necessary materials III.4.8. Hospitalization : (at least 1/3 of beds adjustable) III.4.8.1. Individual room At least surface area of 4mx3m Comfortable bed meant for hospitalization Interior toilet and bathroom Wardrobe Bedside drawers with 2 chairs System for call of a doctor on duty Hanged Mosquito bednet Dustbin with pedal accessory Intravenous fluid supporter III.4.8.2. Room with 2 beds At least surface area of 5mx4m 2 comfortable beds meant for hospitalization Separated by at least 1 meter distance Curtain separating the 2 beds Interior toilet and bathroom Wardrobe Bedside drawers with 2 chairs System for call of a doctor on duty 2 Hanged Mosquito bednets Dustbin with pedal accessory Intravenous fluid supporter III.5. Materials and equipments specific for specified departments at the polyclinic (refer to the list sent per polyclinic in the partnership demand document) | In case of partnership acquisition, handle all the medical services transactions for RSSB affiliates on IT based services Offer quality services to RSSB beneficiaries Accept the attachment of RSSB agent at the polyclinic Abide by the tariffs as fixed by the Ministry of health in collaboration with partners Offer services 24h/24 Ensure permanent duty outside normal working hours with at least a permanent medical general practitioner supervised by a specialist Operational laboratory services 24h/24 Send invoices to RSSB which exactly correspond to services offered to its beneficiaries No charging extra payment to RSSB beneficiaries above the stipulated tariffs No denying services available to RSSB beneficiaries basing on any reason whatsoever |